## START_HERE
Block | Value
Title | Extreme Mixed Workbook
Date | 2026-04-12
Hint | Data exists in non-obvious tabs and uses varied column semantics.

## LEGEND
Field | Value
Guide | Use all data tabs
Racks | 1..3 mixed
Fieldbus | Embedded in remote station

## zz_dump_A
Extreme Mixed Workbook
zz_dump_A
Object |  |  | PLC Mapping |  |  | Installation
Object | Panel/Card | Tag | Type | Service | Addr | Fieldbus | JB/TB | Range | Area
AIT.407 | R02-S01-CH01 | AIT_407 | AI | Transmissor de condutividade da linha de lavagem | Local:I.Slot1.Data.0 | FB-PRC-01-R02 | JB-PRC-04 / X2-08 | 0 .. 20 | Process
ALM.418.HORN | R01-S02-CH01 | ALM_418_HORN | DO | Comando da buzina de alarme do processo | Local:O.Slot2.Data.0 | FB-PRC-01-R01 | JB-PRC-04 / X3-08 |  | Process
ALM.508.BEACON | R01-S02-CH01 | ALM_508_BEACON | DO | Comando do sinaleiro da ensacadeira | Local:O.Slot2.Data.0 | FB-BAG-01-R01 | JB-BAG-04 / X3-12 |  | Bagging
BE.303.FLT | R01-S01-CH01 | BE_303_FLT | DI | Falha do elevador de canecas | Local:I.Slot1.Data.0 | FB-TRN-01-R01 | JB-TRN-02 / X1-10 |  | Conveying
BE.303.START | R01-S02-CH02 | BE_303_START | DO | Comando de partida do elevador de canecas | Local:O.Slot2.Data.1 | FB-TRN-01-R01 | JB-TRN-03 / X2-11 |  | Conveying
COMP.601.FLT | R01-S01-CH01 | COMP_601_FLT | DI | Falha do compressor principal | Local:I.Slot1.Data.0 | FB-UTL-01-R01 | JB-UTL-02 / X2-02 |  | Utilities
CV.111.RUN | R01-S01-CH02 | CV_111_RUN | DI | Retorno em operacao do rosca de descarga do recebimento | Local:I.Slot1.Data.1 | FB-RCV-01-R01 | JB-RCV-02 / X3-06 |  | Receiving
CV.111.SPD.FBK | R02-S01-CH01 | CV_111_SPD_FBK | AI | Referencia real de velocidade do rosca de descarga do recebimento | Local:I.Slot1.Data.0 | FB-RCV-01-R02 | JB-RCV-01 / X3-09 | 0 .. 100 | Receiving
CV.211.RUN | R01-S01-CH02 | CV_211_RUN | DI | Retorno em operacao do transportador principal da moega | Local:I.Slot1.Data.1 | FB-MOG-01-R01 | JB-MOG-01 / X2-05 |  | Hopper
CV.212.START | R01-S02-CH03 | CV_212_START | DO | Comando de partida do transportador auxiliar da moega | Local:O.Slot2.Data.2 | FB-MOG-01-R01 | JB-MOG-03 / X2-11 |  | Hopper
CV.301.RUN | R01-S01-CH04 | CV_301_RUN | DI | Retorno em operacao do transportador de correia principal | Local:I.Slot1.Data.3 | FB-TRN-01-R01 | JB-TRN-01 / X1-01 |  | Conveying
FCV.312.OUT | R03-S01-CH03 | FCV_312_OUT | AO | Setpoint da valvula de controle de vazao do bypass | Local:O.Slot1.Data.2 | FB-TRN-01-R03 | JB-TRN-02 / X1-06 | 0 .. 100 | Conveying
LIT.202 | R02-S01-CH03 | LIT_202 | AI | Transmissor de nivel do silo pulmão da moega | Local:I.Slot1.Data.2 | FB-MOG-01-R02 | JB-MOG-03 / X3-03 | 0 .. 100 | Hopper
LIT.505 | R02-S01-CH01 | LIT_505 | AI | Transmissor de nivel do funil da ensacadeira | Local:I.Slot1.Data.0 | FB-BAG-01-R02 | JB-BAG-04 / X2-08 | 0 .. 100 | Bagging
LSH.401 | R01-S01-CH01 | LSH_401 | DI | Chave de nivel alto do tanque de mistura | Local:I.Slot1.Data.0 | FB-PRC-01-R01 | JB-PRC-01 / X1-01 |  | Process
LSL.201 | R01-S01-CH05 | LSL_201 | DI | Chave de nivel baixo do silo pulmão da moega | Local:I.Slot1.Data.4 | FB-MOG-01-R01 | JB-MOG-02 / X2-02 |  | Hopper
LSL.504 | R01-S01-CH03 | LSL_504 | DI | Chave de nivel baixo do funil da ensacadeira | Local:I.Slot1.Data.2 | FB-BAG-01-R01 | JB-BAG-03 / X1-07 |  | Bagging
MTR.112.RUN | R01-S01-CH05 | MTR_112_RUN | DI | Retorno em operacao do exaustor do filtro do recebimento | Local:I.Slot1.Data.4 | FB-RCV-01-R01 | JB-RCV-03 / X2-11 |  | Receiving
MTR.411.RUN | R01-S01-CH04 | MTR_411_RUN | DI | Retorno em operacao do agitador principal do tanque de mistura | Local:I.Slot1.Data.3 | FB-PRC-01-R01 | JB-PRC-01 / X3-09 |  | Process
MTR.411.SPD.FBK | R02-S01-CH04 | MTR_411_SPD_FBK | AI | Referencia real de velocidade do agitador principal do tanque de mistura | Local:I.Slot1.Data.3 | FB-PRC-01-R02 | JB-PRC-04 / X3-12 | 0 .. 100 | Process
MTR.506.START | R01-S02-CH04 | MTR_506_START | DO | Comando de partida do exaustor do filtro da ensacadeira | Local:O.Slot2.Data.3 | FB-BAG-01-R01 | JB-BAG-02 / X1-10 |  | Bagging
PCV.417.OUT | R03-S01-CH03 | PCV_417_OUT | AO | Setpoint da valvula de controle de pressao de processo | Local:O.Slot1.Data.2 | FB-PRC-01-R03 | JB-PRC-03 / X2-07 | 0 .. 100 | Process
PIT.113 | R02-S01-CH04 | PIT_113 | AI | Transmissor de pressao da linha de fluidizacao | Local:I.Slot1.Data.3 | FB-RCV-01-R02 | JB-RCV-01 / X1-13 | 0 .. 6 | Receiving
PIT.309 | R02-S01-CH03 | PIT_309 | AI | Transmissor de pressao da linha de transporte pneumático | Local:I.Slot1.Data.2 | FB-TRN-01-R02 | JB-TRN-02 / X3-02 | 0 .. 2.5 | Conveying
PMP.117.START | R01-S02-CH03 | PMP_117_START | DO | Comando de partida da bomba de lavagem | Local:O.Slot2.Data.2 | FB-RCV-01-R01 | JB-RCV-02 / X3-02 |  | Receiving
SPARE.AI.UTL.01 | R02-S01-CH03 | SPARE_AI_UTL_01 | SPARE | Reserva analogica de utilidades | Local:I.Slot1.Data.2 | FB-UTL-01-R02 | JB-UTL-04 / X3-12 |  | Utilities
SPARE.DO.TRN.01 | R01-S02-CH05 | SPARE_DO_TRN_01 | SPARE | Reserva de saida digital do transporte | Local:I.Slot2.Data.4 | FB-TRN-01-R01 | JB-TRN-04 / X3-08 |  | Conveying
TIT.217 | R02-S01-CH06 | TIT_217 | AI | Transmissor de temperatura do mancal do transportador principal | Local:I.Slot1.Data.5 | FB-MOG-01-R02 | JB-MOG-03 / X1-03 | 0 .. 120 | Hopper
TIT.404 | R02-S01-CH07 | TIT_404 | AI | Transmissor de temperatura do tanque de mistura | Local:I.Slot1.Data.6 | FB-PRC-01-R02 | JB-PRC-01 / X2-05 | 0 .. 120 | Process
UV.415.ENABLE | R01-S02-CH04 | UV_415_ENABLE | DO | Comando de habilitacao do modulo UV | Local:O.Slot2.Data.3 | FB-PRC-01-R01 | JB-PRC-01 / X3-05 |  | Process
UV.415.HEALTHY | R01-S01-CH07 | UV_415_HEALTHY | DI | Saude do modulo UV da linha de sanitizacao | Local:I.Slot1.Data.6 | FB-PRC-01-R01 | JB-PRC-04 / X2-04 |  | Process
WIT.308 | R02-S01-CH06 | WIT_308 | AI | Transmissor de carga da balanca integradora | Local:I.Slot1.Data.5 | FB-TRN-01-R02 | JB-TRN-01 / X2-01 | 0 .. 150 | Conveying
WIT.503 | R02-S01-CH04 | WIT_503 | AI | Transmissor de peso da balanca ensacadeira | Local:I.Slot1.Data.3 | FB-BAG-01-R02 | JB-BAG-01 / X2-05 | 0 .. 50 | Bagging
XV.304.FB | R01-S01-CH07 | XV_304_FB | DI | Retorno de posicao da valvula guilhotina do chute A | Local:I.Slot1.Data.6 | FB-TRN-01-R01 | JB-TRN-01 / X1-13 |  | Conveying
XV.605.CMD | R01-S02-CH03 | XV_605_CMD | DO | Comando da valvula de bloqueio do header de ar | Local:O.Slot2.Data.2 | FB-UTL-01-R01 | JB-UTL-03 / X1-07 |  | Utilities
XV.605.FB | R01-S01-CH04 | XV_605_FB | DI | Retorno de posicao da valvula de bloqueio do header de ar | Local:I.Slot1.Data.3 | FB-UTL-01-R01 | JB-UTL-04 / X2-08 |  | Utilities
YV.115.FB | R01-S01-CH08 | YV_115_FB | DI | Retorno de posicao da valvula desviadora de amostragem | Local:I.Slot1.Data.7 | FB-RCV-01-R01 | JB-RCV-04 / X1-16 |  | Receiving
YV.213.CMD | R01-S02-CH06 | YV_213_CMD | DO | Comando da comporta desviadora da moega | Local:O.Slot2.Data.5 | FB-MOG-01-R01 | JB-MOG-04 / X3-12 |  | Hopper
YV.305.CMD | R01-S02-CH08 | YV_305_CMD | DO | Comando da valvula desviadora do chute B | Local:O.Slot2.Data.7 | FB-TRN-01-R01 | JB-TRN-02 / X2-14 |  | Conveying
ZS.213.OPEN | R01-S01-CH08 | ZS_213_OPEN | DI | Fim de curso aberto da comporta desviadora da moega | Local:I.Slot1.Data.7 | FB-MOG-01-R01 | JB-MOG-01 / X1-13 |  | Hopper

## Data_Core
Extreme Mixed Workbook
Data_Core
Object |  |  | PLC Mapping |  |  | Installation
Object | Panel/Card | Tag | Type | Service | Addr | Fieldbus | JB/TB | Range | Area
BE.303.RUN | R01-S01-CH02 | BE_303_RUN | DI | Retorno em operacao do elevador de canecas | Local:I.Slot1.Data.1 | FB-TRN-01-R01 | JB-TRN-01 / X3-09 |  | Conveying
CV.302.FLT | R01-S01-CH05 | CV_302_FLT | DI | Falha do transportador de correia secundario | Local:I.Slot1.Data.4 | FB-TRN-01-R01 | JB-TRN-03 / X1-07 |  | Conveying
YV.305.FB | R01-S01-CH08 | YV_305_FB | DI | Retorno de posicao da valvula desviadora do chute B | Local:I.Slot1.Data.7 | FB-TRN-01-R01 | JB-TRN-03 / X3-15 |  | Conveying
CV.301.START | R01-S02-CH03 | CV_301_START | DO | Comando de partida do transportador de correia principal | Local:O.Slot2.Data.2 | FB-TRN-01-R01 | JB-TRN-03 / X3-03 |  | Conveying
SV.315.CMD | R01-S02-CH06 | SV_315_CMD | DO | Comando da valvula de spray de mitigacao de poeira | Local:O.Slot2.Data.5 | FB-TRN-01-R01 | JB-TRN-01 / X3-05 |  | Conveying
CV.301.SPD.FBK | R02-S01-CH01 | CV_301_SPD_FBK | AI | Referencia real de velocidade do transportador de correia principal | Local:I.Slot1.Data.0 | FB-TRN-01-R02 | JB-TRN-04 / X1-04 | 0 .. 60 | Conveying
SPARE.AI.TRN.02 | R02-S01-CH04 | SPARE_AI_TRN_02 | SPARE | Reserva analogica do transporte | Local:I.Slot1.Data.3 | FB-TRN-01-R02 | JB-TRN-01 / X1-09 |  | Conveying
CV.301.SPD.REF | R03-S01-CH01 | CV_301_SPD_REF | AO | Setpoint de velocidade do transportador de correia principal | Local:O.Slot1.Data.0 | FB-TRN-01-R03 | JB-TRN-01 / X2-05 | 0 .. 60 | Conveying
CV.501.RUN | R01-S01-CH01 | CV_501_RUN | DI | Retorno em operacao do transportador de alimentacao da ensacadeira | Local:I.Slot1.Data.0 | FB-BAG-01-R01 | JB-BAG-01 / X1-01 |  | Bagging
MTR.502.RUN | R01-S01-CH04 | MTR_502_RUN | DI | Retorno em operacao do motor da maquina de costura | Local:I.Slot1.Data.3 | FB-BAG-01-R01 | JB-BAG-03 / X3-03 |  | Bagging
CV.501.START | R01-S02-CH02 | CV_501_START | DO | Comando de partida do transportador de alimentacao da ensacadeira | Local:O.Slot2.Data.1 | FB-BAG-01-R01 | JB-BAG-02 / X2-02 |  | Bagging
SPARE.DO.BAG.01 | R01-S02-CH05 | SPARE_DO_BAG_01 | SPARE | Reserva de saida digital da ensacadeira | Local:I.Slot2.Data.4 | FB-BAG-01-R01 | JB-BAG-04 / X1-16 |  | Bagging
PIT.509 | R02-S01-CH02 | PIT_509 | AI | Transmissor de pressao do ar de servico da ensacadeira | Local:I.Slot1.Data.1 | FB-BAG-01-R02 | JB-BAG-01 / X1-13 | 0 .. 8 | Bagging
CV.511.SPD.REF | R03-S01-CH01 | CV_511_SPD_REF | AO | Setpoint de velocidade do dosador de rosca da ensacadeira | Local:O.Slot1.Data.0 | FB-BAG-01-R03 | JB-BAG-03 / X3-15 | 0 .. 100 | Bagging
CV.212.RUN | R01-S01-CH03 | CV_212_RUN | DI | Retorno em operacao do transportador auxiliar da moega | Local:I.Slot1.Data.2 | FB-MOG-01-R01 | JB-MOG-02 / X1-10 |  | Hopper
MTR.215.RUN | R01-S01-CH06 | MTR_215_RUN | DI | Retorno em operacao do vibrador do silo de transicao | Local:I.Slot1.Data.5 | FB-MOG-01-R01 | JB-MOG-04 / X1-16 |  | Hopper
ALM.220.HORN | R01-S02-CH01 | ALM_220_HORN | DO | Comando da buzina de alarme da moega | Local:O.Slot2.Data.0 | FB-MOG-01-R01 | JB-MOG-04 / X2-04 |  | Hopper
MTR.215.START | R01-S02-CH04 | MTR_215_START | DO | Comando de partida do vibrador do silo de transicao | Local:O.Slot2.Data.3 | FB-MOG-01-R01 | JB-MOG-01 / X2-01 |  | Hopper
CV.211.SPD.FBK | R02-S01-CH01 | CV_211_SPD_FBK | AI | Referencia real de velocidade do transportador principal da moega | Local:I.Slot1.Data.0 | FB-MOG-01-R02 | JB-MOG-04 / X2-08 | 0 .. 60 | Hopper
PIT.216 | R02-S01-CH04 | PIT_216 | AI | Transmissor de pressao da linha de despoeiramento | Local:I.Slot1.Data.3 | FB-MOG-01-R02 | JB-MOG-02 / X3-02 | -50 .. 50 | Hopper
CV.211.SPD.REF | R03-S01-CH01 | CV_211_SPD_REF | AO | Setpoint de velocidade do transportador principal da moega | Local:O.Slot1.Data.0 | FB-MOG-01-R03 | JB-MOG-01 / X3-09 | 0 .. 60 | Hopper
LSL.401 | R01-S01-CH02 | LSL_401 | DI | Chave de nivel baixo do tanque de mistura | Local:I.Slot1.Data.1 | FB-PRC-01-R01 | JB-PRC-02 / X2-02 |  | Process
PMP.412.RUN | R01-S01-CH05 | PMP_412_RUN | DI | Retorno em operacao do bomba de recirculacao de processo | Local:I.Slot1.Data.4 | FB-PRC-01-R01 | JB-PRC-02 / X2-14 |  | Process
XV.413.FB | R01-S01-CH08 | XV_413_FB | DI | Retorno de posicao da valvula de entrada de agua de processo | Local:I.Slot1.Data.7 | FB-PRC-01-R01 | JB-PRC-01 / X2-01 |  | Process
MTR.411.START | R01-S02-CH02 | MTR_411_START | DO | Comando de partida do agitador principal do tanque de mistura | Local:O.Slot2.Data.1 | FB-PRC-01-R01 | JB-PRC-03 / X2-11 |  | Process
XV.413.CMD | R01-S02-CH05 | XV_413_CMD | DO | Comando da valvula de entrada de agua de processo | Local:O.Slot2.Data.4 | FB-PRC-01-R01 | JB-PRC-04 / X1-16 |  | Process
FIT.406 | R02-S01-CH02 | FIT_406 | AI | Transmissor de vazao da linha de dosagem | Local:I.Slot1.Data.1 | FB-PRC-01-R02 | JB-PRC-03 / X1-07 | 0 .. 25 | Process
PHIT.405 | R02-S01-CH05 | PHIT_405 | AI | Transmissor de pH da linha de preparo | Local:I.Slot1.Data.4 | FB-PRC-01-R02 | JB-PRC-02 / X3-06 | 0 .. 14 | Process
FCV.416.OUT | R03-S01-CH01 | FCV_416_OUT | AO | Setpoint da valvula de controle de vazao de processo | Local:O.Slot1.Data.0 | FB-PRC-01-R03 | JB-PRC-02 / X1-06 | 0 .. 100 | Process
SPARE.AO.PRC.02 | R03-S01-CH04 | SPARE_AO_PRC_02 | SPARE | Reserva analogica de saida do processo | Local:I.Slot1.Data.3 | FB-PRC-01-R03 | JB-PRC-02 / X2-10 |  | Process
LSH.101 | R01-S01-CH03 | LSH_101 | DI | Chave de nivel alto da moega rodoviaria | Local:I.Slot1.Data.2 | FB-RCV-01-R01 | JB-RCV-03 / X3-03 |  | Receiving
SPARE.DI.RCV.01 | R01-S01-CH06 | SPARE_DI_RCV_01 | SPARE | Reserva de entrada digital no painel de recebimento | Local:I.Slot1.Data.5 | FB-RCV-01-R01 | JB-RCV-03 / X1-03 |  | Receiving
CV.111.START | R01-S02-CH01 | CV_111_START | DO | Comando de partida do rosca de descarga do recebimento | Local:O.Slot2.Data.0 | FB-RCV-01-R01 | JB-RCV-04 / X2-08 |  | Receiving
XV.101.CMD | R01-S02-CH04 | XV_101_CMD | DO | Comando da comporta de descarga do fosso | Local:O.Slot2.Data.3 | FB-RCV-01-R01 | JB-RCV-01 / X1-01 |  | Receiving
FIT.114 | R02-S01-CH02 | FIT_114 | AI | Transmissor de vazao de descarga do recebimento | Local:I.Slot1.Data.1 | FB-RCV-01-R02 | JB-RCV-02 / X2-14 | 0 .. 60 | Receiving
CV.111.SPD.REF | R03-S01-CH01 | CV_111_SPD_REF | AO | Setpoint de velocidade do rosca de descarga do recebimento | Local:O.Slot1.Data.0 | FB-RCV-01-R03 | JB-RCV-02 / X1-10 | 0 .. 100 | Receiving
COMP.601.RUN | R01-S01-CH02 | COMP_601_RUN | DI | Retorno em operacao do compressor principal | Local:I.Slot1.Data.1 | FB-UTL-01-R01 | JB-UTL-01 / X1-01 |  | Utilities
COMP.601.START | R01-S02-CH01 | COMP_601_START | DO | Comando de partida do compressor principal | Local:O.Slot2.Data.0 | FB-UTL-01-R01 | JB-UTL-03 / X3-03 |  | Utilities
FIT.603 | R02-S01-CH01 | FIT_603 | AI | Transmissor de vazao de agua industrial | Local:I.Slot1.Data.0 | FB-UTL-01-R02 | JB-UTL-01 / X2-05 | 0 .. 40 | Utilities
TIT.604 | R02-S01-CH04 | TIT_604 | AI | Transmissor de temperatura da linha de agua gelada | Local:I.Slot1.Data.3 | FB-UTL-01-R02 | JB-UTL-02 / X3-06 | 0 .. 30 | Utilities

## Ref_Mixed
Extreme Mixed Workbook
Ref_Mixed
Object |  |  | PLC Mapping |  |  | Installation
Object | Panel/Card | Tag | Type | Service | Addr | Fieldbus | JB/TB | Range | Area
CV.111.FLT | R01-S01-CH01 | CV_111_FLT | DI | Falha do rosca de descarga do recebimento | Local:I.Slot1.Data.0 | FB-RCV-01-R01 | JB-RCV-03 / X1-07 |  | Receiving
CV.211.FLT | R01-S01-CH01 | CV_211_FLT | DI | Falha do transportador principal da moega | Local:I.Slot1.Data.0 | FB-MOG-01-R01 | JB-MOG-02 / X3-06 |  | Hopper
LSH.504 | R01-S01-CH02 | LSH_504 | DI | Chave de nivel alto do funil da ensacadeira | Local:I.Slot1.Data.1 | FB-BAG-01-R01 | JB-BAG-02 / X3-06 |  | Bagging
CV.301.FLT | R01-S01-CH03 | CV_301_FLT | DI | Falha do transportador de correia principal | Local:I.Slot1.Data.2 | FB-TRN-01-R01 | JB-TRN-02 / X2-02 |  | Conveying
MTR.411.FLT | R01-S01-CH03 | MTR_411_FLT | DI | Falha do agitador principal do tanque de mistura | Local:I.Slot1.Data.2 | FB-PRC-01-R01 | JB-PRC-02 / X1-10 |  | Process
PMP.606.RUN | R01-S01-CH03 | PMP_606_RUN | DI | Retorno em operacao do bomba de recirculacao da torre de resfriamento | Local:I.Slot1.Data.2 | FB-UTL-01-R01 | JB-UTL-01 / X3-09 |  | Utilities
LSH.201 | R01-S01-CH04 | LSH_201 | DI | Chave de nivel alto do silo pulmão da moega | Local:I.Slot1.Data.3 | FB-MOG-01-R01 | JB-MOG-01 / X1-01 |  | Hopper
LSL.101 | R01-S01-CH04 | LSL_101 | DI | Chave de nivel baixo da moega rodoviaria | Local:I.Slot1.Data.3 | FB-RCV-01-R01 | JB-RCV-04 / X1-04 |  | Receiving
MTR.506.RUN | R01-S01-CH05 | MTR_506_RUN | DI | Retorno em operacao do exaustor do filtro da ensacadeira | Local:I.Slot1.Data.4 | FB-BAG-01-R01 | JB-BAG-01 / X3-09 |  | Bagging
CV.302.RUN | R01-S01-CH06 | CV_302_RUN | DI | Retorno em operacao do transportador de correia secundario | Local:I.Slot1.Data.5 | FB-TRN-01-R01 | JB-TRN-02 / X3-06 |  | Conveying
SPARE.DI.PRC.01 | R01-S01-CH06 | SPARE_DI_PRC_01 | SPARE | Reserva de entrada digital do processo | Local:I.Slot1.Data.5 | FB-PRC-01-R01 | JB-PRC-01 / X1-09 |  | Process
XV.101.FB | R01-S01-CH07 | XV_101_FB | DI | Retorno de posicao da comporta de descarga do fosso | Local:I.Slot1.Data.6 | FB-RCV-01-R01 | JB-RCV-02 / X2-02 |  | Receiving
XV.214.FB | R01-S01-CH07 | XV_214_FB | DI | Retorno de posicao da valvula de alivio do silo de transicao | Local:I.Slot1.Data.6 | FB-MOG-01-R01 | JB-MOG-03 / X3-15 |  | Hopper
XV.414.FB | R01-S01-CH09 | XV_414_FB | DI | Retorno de posicao da valvula de descarga do tanque de mistura | Local:I.Slot1.Data.8 | FB-PRC-01-R01 | JB-PRC-03 / X1-03 |  | Process
ALM.314.BEACON | R01-S02-CH01 | ALM_314_BEACON | DO | Comando do sinaleiro do transporte | Local:O.Slot2.Data.0 | FB-TRN-01-R01 | JB-TRN-04 / X2-04 |  | Conveying
CV.211.START | R01-S02-CH02 | CV_211_START | DO | Comando de partida do transportador principal da moega | Local:O.Slot2.Data.1 | FB-MOG-01-R01 | JB-MOG-03 / X1-07 |  | Hopper
MTR.112.START | R01-S02-CH02 | MTR_112_START | DO | Comando de partida do exaustor do filtro do recebimento | Local:O.Slot2.Data.1 | FB-RCV-01-R01 | JB-RCV-04 / X3-12 |  | Receiving
PMP.606.START | R01-S02-CH02 | PMP_606_START | DO | Comando de partida do bomba de recirculacao da torre de resfriamento | Local:O.Slot2.Data.1 | FB-UTL-01-R01 | JB-UTL-02 / X1-10 |  | Utilities
MTR.502.START | R01-S02-CH03 | MTR_502_START | DO | Comando de partida do motor da maquina de costura | Local:O.Slot2.Data.2 | FB-BAG-01-R01 | JB-BAG-04 / X1-04 |  | Bagging
PMP.412.START | R01-S02-CH03 | PMP_412_START | DO | Comando de partida do bomba de recirculacao de processo | Local:O.Slot2.Data.2 | FB-PRC-01-R01 | JB-PRC-03 / X3-15 |  | Process
CV.302.START | R01-S02-CH04 | CV_302_START | DO | Comando de partida do transportador de correia secundario | Local:O.Slot2.Data.3 | FB-TRN-01-R01 | JB-TRN-04 / X2-08 |  | Conveying
XV.214.CMD | R01-S02-CH05 | XV_214_CMD | DO | Comando da valvula de alivio do silo de transicao | Local:O.Slot2.Data.4 | FB-MOG-01-R01 | JB-MOG-02 / X2-14 |  | Hopper
YV.115.CMD | R01-S02-CH05 | YV_115_CMD | DO | Comando da valvula desviadora de amostragem | Local:O.Slot2.Data.4 | FB-RCV-01-R01 | JB-RCV-03 / X3-15 |  | Receiving
XV.414.CMD | R01-S02-CH06 | XV_414_CMD | DO | Comando da valvula de descarga do tanque de mistura | Local:O.Slot2.Data.5 | FB-PRC-01-R01 | JB-PRC-02 / X3-02 |  | Process
XV.507.CMD | R01-S02-CH06 | XV_507_CMD | DO | Comando da valvula de corte da ensacadeira | Local:O.Slot2.Data.5 | FB-BAG-01-R01 | JB-BAG-03 / X2-11 |  | Bagging
XV.304.CMD | R01-S02-CH07 | XV_304_CMD | DO | Comando da valvula guilhotina do chute A | Local:O.Slot2.Data.6 | FB-TRN-01-R01 | JB-TRN-04 / X3-12 |  | Conveying
FIT.203 | R02-S01-CH02 | FIT_203 | AI | Transmissor de vazao da calha vibratoria da moega | Local:I.Slot1.Data.1 | FB-MOG-01-R02 | JB-MOG-04 / X1-04 | 0 .. 80 | Hopper
FIT.307 | R02-S01-CH02 | FIT_307 | AI | Transmissor de vazao da linha de transporte principal | Local:I.Slot1.Data.1 | FB-TRN-01-R02 | JB-TRN-04 / X1-16 | 0 .. 120 | Conveying
PIT.602 | R02-S01-CH02 | PIT_602 | AI | Transmissor de pressao do header de ar comprimido | Local:I.Slot1.Data.1 | FB-UTL-01-R02 | JB-UTL-04 / X1-04 | 0 .. 10 | Utilities
LIT.101 | R02-S01-CH03 | LIT_101 | AI | Transmissor de nivel da moega rodoviaria | Local:I.Slot1.Data.2 | FB-RCV-01-R02 | JB-RCV-01 / X2-05 | 0 .. 100 | Receiving
LIT.402 | R02-S01-CH03 | LIT_402 | AI | Transmissor de nivel do tanque de mistura | Local:I.Slot1.Data.2 | FB-PRC-01-R02 | JB-PRC-03 / X3-03 | 0 .. 100 | Process
TIT.510 | R02-S01-CH03 | TIT_510 | AI | Transmissor de temperatura da seladora | Local:I.Slot1.Data.2 | FB-BAG-01-R02 | JB-BAG-02 / X2-14 | 0 .. 250 | Bagging
SPARE.AI.MOG.01 | R02-S01-CH05 | SPARE_AI_MOG_01 | SPARE | Reserva analogica no rack de moega | Local:I.Slot1.Data.4 | FB-MOG-01-R02 | JB-MOG-02 / X1-06 |  | Hopper
TIT.310 | R02-S01-CH05 | TIT_310 | AI | Transmissor de temperatura do mancal do elevador | Local:I.Slot1.Data.4 | FB-TRN-01-R02 | JB-TRN-03 / X1-03 | 0 .. 120 | Conveying
PIT.403 | R02-S01-CH06 | PIT_403 | AI | Transmissor de pressao do manifold de processo | Local:I.Slot1.Data.5 | FB-PRC-01-R02 | JB-PRC-04 / X1-04 | 0 .. 10 | Process
PCV.607.OUT | R03-S01-CH01 | PCV_607_OUT | AO | Setpoint da valvula de controle de pressao do ar | Local:O.Slot1.Data.0 | FB-UTL-01-R03 | JB-UTL-03 / X2-11 | 0 .. 100 | Utilities
DMPR.313.POS.REF | R03-S01-CH02 | DMPR_313_POS_REF | AO | Setpoint do damper da exaustao do transporte | Local:O.Slot1.Data.1 | FB-TRN-01-R03 | JB-TRN-03 / X2-07 | 0 .. 100 | Conveying
FCV.116.OUT | R03-S01-CH02 | FCV_116_OUT | AO | Setpoint da valvula de dosagem de agua | Local:O.Slot1.Data.1 | FB-RCV-01-R03 | JB-RCV-01 / X2-01 | 0 .. 100 | Receiving
FCV.219.OUT | R03-S01-CH02 | FCV_219_OUT | AO | Setpoint da valvula de recirculacao de po | Local:O.Slot1.Data.1 | FB-MOG-01-R03 | JB-MOG-01 / X3-05 | 0 .. 100 | Hopper
MTR.411.SPD.REF | R03-S01-CH02 | MTR_411_SPD_REF | AO | Setpoint de velocidade do agitador principal do tanque de mistura | Local:O.Slot1.Data.1 | FB-PRC-01-R03 | JB-PRC-01 / X1-13 | 0 .. 100 | Process